Sam Massman

Acting District Ranger, Dillon Ranger District

White River National Forest

680 Blue River Pkwy Suite F

Silverthorne, CO 80498

Sent via email to: samuel.massman@usda.gov

Subject: Comments on 2026 Frisco Nordic Center Improvements CE

Dear Mr. Massman,

Summit County Environmental Health Department (SCEH) would like to provide the following comments on the Scoping Notice for the Town of Frisco (TOF) and Summit Huts Association (Summit Huts) proposal to implement improvements at the Frisco Nordic Center (FNC). SCEH is supportive of the proposed hut but want to point out that a compliant Onsite Wastewater Treatment System (OWTS) will be required and this department would like to review the proposed potable water system.

OWTS- Per the Summit County Onsite Wastewater Treatment System (OWTS) Regulations, section 3.0.B, states that “the owner of any structure where people live, work, or congregate, must ensure that the structure is connected to an approved OWTS or a sewage treatment works.” If you are unable to connect the hut to a central sewage treatment works, you must obtain an OWTS permit to construct and receive final approval from this department prior to occupancy.

Water System- While this department does not have direct authority to review and approve the water system you propose, we would like to review and comment in the interest of protecting the health of your customers.  If the water system proposed cannot ensure safe water for customers, we would like to provide guidance on educational materials to share with customers so they can make the water safe (boil, filter, etc).

Thank you for the opportunity to comment. Questions or clarifications on this letter can be directed to EnvironmentalHealth@summitcountyco.gov.

Sincerely,

Dan Hendershott, REHS

Environmental Health Manager

Public Health Department